## Slide 1: Supplement 245: RDSR Informative Annex
DICOM Working group 28 (PHYSICS) PUBLIC COMMENT
2026/01/14

## Slide 2: Supp245 Scope
This Supplement introduces an informative annex in DICOM PS3.17.
Includes Traditional and Enhanced RDSR within Angiography, Mammography, Radiography, Radiofluoroscopy, CT, and Dentistry.
Excludes Radiopharmaceutical RDSR, Patient RDSR, radiation for treatment (in Radiotherapy objects).

## Slide 3: Supp245 Purpose
Describes real-world scenarios of typical equipment configurations, provide examples and encoding guidelines for both Traditional and Enhanced RDSR.
Indicates restrictions on the applicable scenarios (defined terms, value ranges, presence of Content Items).
Assesses the applicability for some conditional Content Items and promotes the usage of optional Content Items under scenarios.

## Slide 4: Supp245 Prior work
Existing RDSR Informative Annexes in PS3.17:
Annex AA: Radiation Dose Reporting Use Cases
This Annex describes basic workflows of RDSR.
Annex UUUU: Radiation Dose Structured Reporting
This Annex includes one example of Enhanced RDSR (Cone-beam CT).
This supplement 245 will update the content of the Annex UUUU.

## Slide 5: Sup245 Approach
This supplement is structured in three chapters:
RADIATION DOSE OVERVIEW
User needs and real-world scenarios for different modalities.
RDSR ENCODING GUIDELINES
Encoding guidelines of different aspects of the RDSR content: Procedure information and type of equipment, physician names, geometry and distances, irradiation timing, filters and attenuators, dose calibration etc.
RDSR EXAMPLES of traditional and enhanced RDSR