## Slide 1: For Processing CT SOP Classes Public Comment WG-21
2025.11.14

## Slide 2: Background
Multi-energy CT is expanding, driven by photon counting technology.
Multi-energy CT produces “basis images” at specific energy levels.
X-ray attenuation curves are energy-dependent
Many diagnostic “spectral” images can be derived from pairs of basis images
  Iodine maps, virtual non-contrast images, calcium maps
  Virtual monoenergetic images at various energy levels
For Processing (Basis) images need to be exchanged and managed
  To avoid cluttering the reading process with basis images
  To support radiologist requests for “on demand” spectral images during the reading process.

## Slide 3: Example Data MECT Flow
Modality
PACS / VNA
Viewer / Hanging Protocol
Basis Object = DICOM Enhanced CT – For Processing;
1 object can contain all basis stacks, noise maps, etc.
VMI 50
VMI 50
VMI 50
VMI 50
VMI 65
Archive
VMI 50
VMI 50
VMI 50
VMI 50
VNC
Basis Object
VMI 50
VMI 50
VMI 50
VMI 50
VMI 65
VMI 50
VMI 50
VMI 50
VMI 50
VNC
Performs Reconstruction
& Basis Decomposition
Generates Virtual Monoenergetic Image Set
Generates Virtual Non-Contrast Image Set
Two Series of DICOM CT Images
NOTE: This is just one example of how the SOP Classes might be used and distributed. Many possibilities exist.
VMI 50
VMI 50
VMI 50
VMI 50
VMI 65
VMI 50
VMI 50
VMI 50
VMI 50
VNC
Basis Object
VMI 50
VMI 50
VMI 50
VMI 50
VMI 65
Basis Object
VMI available for quick viewing. VNC can be regenerated from Basis Images if needed.
VMI 50
VMI 50
VMI 50
VMI 50
VMI 45
New VMI 45 Series is requested and generated on the fly from Basis Images
Notes: Consider a slide with some examples of images?