## Slide 1: DICOM Educational Conference Bangkok, Thailand
3-4 October 2019
Encounter-based Imaging workflow
EBIW
mayo Clinic
Ken Persons
Copyright DICOM® 2019 www.dicomstandard.org #DICOMConference2019 #DICOM @DICOMstandard

## Slide 2
What is Encounter-Based Imaging ?
IHE, Standards, and Encounter-Based Imaging Workflow
Metadata
Applying EBIW In The Real World
Summary and Resources
Encounter-based Imaging Workflow
EBIW
Topics:

## Slide 3
What is Encounter-Based Imaging?
EBI = imaging captured in the context of an encounter between a patient and a care-provider (typically without an imaging order)
Order-based Imaging
[CT, MR, PET, XA, MG, Echo]
(Radiology, Cardiology, etc.)
Encounter-based Imaging
[Tablets, Cameras, Point of Care US]
(Dermatology, Wound Care,
Burn Unit, ER, Sports Medicine,
etc., etc., etc.,
etc.)

## Slide 4
Example:
Point of Care Ultrasound

## Slide 5
Example:
Medical Photos in Dermatology

## Slide 6
Example:
Surgical Procedures for ENT

## Slide 7
Standardizing
Encounters-based Imaging Workflow
Address medical imaging performed outside the context of an ordered procedure
Capture & record consistent, predictable, metadata
Minimize manual data entry and create efficient workflows
Utilize standards-based interfaces
    RESTful Web services where appropriate (lightweight devices)
Manage & access images as part of a well-knit medical record
Facilitate Analytics
Goals:

## Slide 8
What’s the Harm ?
When acquisition is not integrated, complete and consistent, the quality and efficiency of care is negatively affected:
Patient’s imaging record fragmented across departments
Images printed and scanned into EMR without metadata
Images in the EMR are lumped under a “media tab” with little differentiation/navigation
  Not the fault of the EMR; it’s the acquisition process and data management
Sharing between affiliated hospitals is limited / non-existent
…Image
…Image
…Image
…Color Image
…Image
Images not readily available to the Care Team
Time lost to awkward workflow/data capture; lack of automation

## Slide 9
What is Encounter-Based Imaging ?
IHE, Standards, and Encounter-Based Imaging Workflow
Metadata
Applying EBIW In The Real World
Summary and Resources
Encounter-based Imaging Workflow
EBIW
Topics:

## Slide 10
IHE
“IHE is an initiative by healthcare professionals and industry to improve the way computer systems in healthcare share information. IHE promotes the coordinated use of established standards such as DICOM and HL7 to address specific clinical needs in support of optimal patient care.”
IHE Secretariat: RSNA & HIMSS
  www.ihe.net
IHE Scope:
  Tailor and Test Standards
  Profile existing standards to address specific use cases in healthcare
  Organize Connectathon testing events

## Slide 11
IHE
IHE Terms
  Integration Profile: an implementation guide for addressing a given use case
    An Integration Profile specifies the behavior of actors and the transactions between them
  Actor: a generalized real-world system or component thereof
  Transaction: a specified interaction between Actors
  Technical Framework: Includes all of the integration profiles, actors and transactions defined for a particular domain (e.g. Radiology Domain)

## Slide 12
IHE
Radiology Domain
IHE Radiology Technical Framework – Integration Profiles
Approved Profiles
Supplementary Profiles (for trial)
Orders-based

## Slide 13
IHE
IHE Radiology Schedule Workflow Profile – orders-based workflow

## Slide 14
Encounter-based Imaging Workflow
Use Case #1: Point of Care Ultrasound
Image Manager/ Archive
PoC US
Encounter Manager
Result Aggregator
Get Imaging
Context
Store Images
(Patient ID,
Notify Visit ID,
Imaging Acq. Time,
Result Procedure Code,
Accession #,
Body Part,
etc.)
EMR, MPI, PAM, PDQ, etc.
EMR
Patient Visit in ER
Decision to use US
Scan Patient Wrist Band
Get Encounter Information
Add Other Information
Scan Patient
Store Images
Notify Results

## Slide 15
Encounter-based Imaging Workflow
Use Case #2: Lightweight Device
Image Manager/ Archive
Encounter Manager
Result Aggregator
Get Imaging
Context
Store Images
EMR, MPI, PAM, PDQ, etc.
EMR
(Patient ID,
Notify Visit ID,
Imaging Acq. Time,
Result Procedure Code,
Accession #,
Body Part,
etc.)

## Slide 16: EBIW using DICOMweb
Image Manager/ Archive
Encounter Manager
Get Imaging Context
Store Images
http://encountermanager.here.org/workitems?AdmissionID=987654
&ScheduledProcedureStepSequence.ScheduledStationAETitle=DermTab1
[ {
“PatientName”: {"vr": "PN", "Value": [{"Alphabetic": "SMITH^JOHN"}]},
“PatientID”: {"vr": "LO", "Value": ["66437748"]},
“IssuerOfPatientID”: {"vr": "LO", "Value": ["MyHospital"]},
“PatientBirthDate”: {"vr": "DT", "Value": ["19670701"]},
“PatientSex”: {"vr": "CS", "Value": ["M"]},
“InstitutionName”: {"vr": "LO", "Value": ["Metrocity General Hospital"]},
“InstitutionalDepartmentName”: {"vr": “LO", "Value": [“Dermatology"]},
…
http://mypacs.here.org/studies
Content-Type: application/dicom+json
[ {
“PatientName”: {"vr": "PN", "Value": [{"Alphabetic": "SMITH^JOHN"}]},
“PatientID”: {"vr": "LO", "Value": ["66437748"]},
“IssuerOfPatientID”: {"vr": "LO", "Value": ["MyHospital"]},
“PatientBirthDate”: {"vr": "DT", "Value": ["19670701"]},
…
“BodyPartExamined”: {"vr": "CS", "Value": [“CALF"]},
“Laterality”: {"vr": "CS", "Value": [“R"]},
…
Content-Type: image/jpeg
<the image>

## Slide 17
EBIW Information Model

## Slide 18
Encounter-based Imaging
So what’s the Key ?

## Slide 19
Key Metadata
Patient Metadata
  Name, Date of Birth, Age, MRN, Other IDs, …
Encounter Metadata
  Department, Specialty, Physician, Referring Physician, Admission ID, Admission Date/Time, Reason for Admission, …
Procedure Metadata
  Modality, Imaging Procedure, Body Part, Reason for Imaging, Accession #, Acquisition Date/Time, Device, Operator, …
Pixel Metadata
  Rows, Columns, Bit Depth, Pixel Size, Encoding, ...
Why? To manage the images; to readily find them again & use them
To turn the JPEG into a medical document

## Slide 20
IHE EBIW Actor/Transaction Diagram

## Slide 21
Key Values - Get Imaging Context

## Slide 22
Key Values – Store Images

## Slide 23
Key Values – Store Images

## Slide 24
What is Encounter-Based Imaging ?
IHE, Standards, and Encounter-Based Imaging Workflow
Metadata
Applying EBIW In The Real World
Summary and Resources
Encounter-based Imaging Workflow
EBIW
Topics:

## Slide 25
Applying EBIW in the Real World
Point of Care Ultrasound Process Flow

## Slide 26
Applying EBIW in the Real World
Point of Care Ultrasound Process Flow
Actor Role:
Image Archive
VNA
Actor Role:
Image Manager
One of Several Real World Options
Actor Role:
Encounter
Manager
Actor Role:
Results
Aggregator
EMR
Store Images
(DICOM)
Notify Imaging Result
(HL7)
Get Imaging
Context
(DICOM)
Actor Role:
Acquisition
Modality
Ultrasound
or
Digital Capture

## Slide 27
Applying EBIW in the Real World
Point of Care Ultrasound Process Flow
Actor Role:
Results
Aggregator
EMR
Actor Role:
Acquisition
Modality
Ultrasound
or
Digital Capture
Actor Role:
Image Archive
VNA
Store Images
(DICOM)
Notify Imaging Result
(HL7)
Actor Role:
Image Manager
Another of Several Real World Options
Get Imaging
Context
(DICOM)
Actor Role:
Encounter
Manager
Information
System

## Slide 28
Applying EBIW in the Real World
Lightweight Modality Flow

## Slide 29
Applying EBIW in the Real World
Lightweight Modality Flow
Photo Capture
Actor Role:
Image Archive
VNA
Actor Role:
Image Manager
One of Several Real World Options
Actor Role:
Encounter
Manager
Actor Role:
Results
Aggregator
EMR
Store Images
(DICOMweb)
Notify Imaging Result
(HL7)
Get Imaging
Context
(DICOMweb)
Actor Role:
Light Weight
Device

## Slide 30
Applying EBIW in the Real World
Separate Capture and Import Flow

## Slide 31
Applying EBIW in the Real World
Separate Capture and Import Flow
Actor Role:
Results
Aggregator
EMR
Actor Role:
Lightweight
Modality
Image Import
Software
Actor Role:
Image Archive
VNA
Store Images
(DICOM or DICOMweb)
Notify Imaging Result
(HL7)
Actor Role:
Image Manager
One of Several Real World Options
Get Imaging
Context
(DICOM or DICOMweb)
Actor Role:
Encounter
Manager
Information
System
External
Camera
Transfer
Photos

## Slide 32
Image Acquisition
IHE Encounters-based Imaging Workflow
An IHE “standards-based” approach that addresses workflow for:
Non-order’s based imaging for
  Bedside Ultrasound
  Camera-based Acquisition (Lightweight Devices)

## Slide 33
Enterprise Imaging
Example: Mature VNA Implementation
DICOM and Web Services
DICOM, HL7 and Web Services
Radiology
Cardiology
OB/Gyn
Dental & Oral Surgery
Ophthalmology
Orthopedics
Radiation Oncology
Urology
Vascular Medicine
Neurology
PMR
Sports Medicine
Pain Medicine
Infusion Therapy
Pulmonary/Bronchoscopy
Anesthesiology
Critical Care
Hospital Internal Medicine
Emergency Department
DICOM Digital
Capture Devices
Operating Rooms
GI Scopes
ENT Scopes
Others….
DICOM Wrap
Import Services
Medical Photo Import
Video Clip Import
Import API
Mayo Photo App
Others….
Outside Images
Import
Service
Mayo
Images
Export
Service
Interface Engine Services
Patient Imaging Registry
Vendor Neutral Archive
Clinical Image Viewing
Image Routing Services
Electronic Health Record
EHR
Desktop
EHR
Mobile
Patient
Portal
Registration
Master Data
Orders
Results Management
Acquire/Store
Photos/Videos
Worklist
Services
Integration
Orders-based
Encounters-based
CD/DVD Import
Electronic Import
Burn CD/DVD
Electronic Export
Stress Echo Videos
Bedside Ultrasound Devices

## Slide 34
Example: Encounters-based Image Acquisition Workflow/Data flow with a VNA
Bedside Ultrasound Devices (speak DICOM)
Electronic Health Record
3rd Party Modality Worklist Server
DICOM
Images
DICOM
Images
DICOM
Images
Modality Worklist Query
Gateway
Enterprise Clinical Image Viewer Optimized Environments
Vendor Neutral Archive
EHR
Desktop
DICOM
Images
with Acc #
DICOM
Images
With
Acc #
EHR
Mobile
Patient
Portal
Institutional Image Management System
(IIMS)
(Patient Imaging Registry)
Create
and Result
Order
For
Imaging
Using
Known
Accession #,
Department,
PHI,
etc.
6
2
2
2
2
4
4
5
Validate Images Against Patient Registration
6
7
7
7
View Images
View Images
View Images
Anes.
Sports Medicine
Critical
Care
Notify Exam In Progress 
(PHI, Dept., Modality, Study UID…)
 Get Accession #
3
Get Patient Demographic Information
Patient Registration
Master Data Management
1
Pulmonary
Bronchoscopy
1
1
1
1
barcode
PID
Retrieve
Prior
Images
3
1
Notify IIMS
that images are available
(ORU)
Logical Storage Pools

## Slide 35
Enterprise Imaging
Example: Mature VNA Implementation
DICOM and Web Services
DICOM, HL7 and Web Services
Radiology
Cardiology
OB/Gyn
Dental & Oral Surgery
Ophthalmology
Orthopedics
Radiation Oncology
Urology
Vascular Medicine
Neurology
PMR
Sports Medicine
Pain Medicine
Infusion Therapy
Pulmonary/Bronchoscopy
Anesthesiology
Critical Care
Hospital Internal Medicine
Emergency Department
DICOM Digital
Capture Devices
Operating Rooms
GI Scopes
ENT Scopes
Others….
DICOM Wrap
Import Services
Medical Photo Import
Video Clip Import
Import API
Mayo Photo App
Others….
Outside Images
Import
Service
Mayo
Images
Export
Service
Interface Engine Services
Patient Imaging Registry
Vendor Neutral Archive
Clinical Image Viewing
Image Routing Services
Electronic Health Record
EHR
Desktop
EHR
Mobile
Patient
Portal
Registration
Master Data
Orders
Results Management
Acquire/Store
Photos/Videos
Worklist
Services
Integration
Orders-based
Encounters-based
CD/DVD Import
Electronic Import
Burn CD/DVD
Electronic Export
Stress Echo Videos
Bedside Ultrasound Devices

## Slide 36
Example: Encounters-based Image Acquisition Workflow/Data flow with a VNA
Photography and Video Clip Acquisition and Import Services
Electronic Health Record
Enterprise Clinical Image Viewer Optimized Environments
Vendor Neutral Archive
EHR
Desktop
EHR
Mobile
Patient
Portal
Institutional Image Management System
(IIMS)
(Patient Imaging Registry)
Create
Order
For
Imaging
Using
Known
Accession #,
Department,
PHI,
etc.
6
5
Validate Images Against Patient Registration
6
7
7
7
View Images
View Images
View Images
Notify Photo Exam Info. 
(PHI, Dept., Photo Classification, …)
 Get Accession #
Retrieve
Prior
Images
4
3
DICOM Encapsulation and Routing
DICOM Images
and Video Clips
with Acc #
4
Medical
Photo/Video Import
Application
Patient Lookup
Web Service
Import EHR Photos
Web Service
(future)
DICOM Encapsulate Web Service
DICOM Images
and Video Clips
with Acc #
Mobile
Photo/Video App
Registration
Master Data Management
Launch
To Patient
Context
1
1
2
2
2
3
1
A
B
C
Notify IIMS
that images are available
(ORU)
Logical Storage Pools
Medical Photos
Restricted Photos
Three Methods:
A
Mobile Photo/Video App
B
Photo/Video Import Application
C
API – Import Web Service

## Slide 37
Encounters-based Image Workflow – Standards-based Implementation
IHE EBIW Example Implementation Using a VNA (Real World Device / IHE Actor)
Electronic Health Record (IHE Results Aggregator Actor)
Patient Registration
Master Data Management
Institutional Image Management System
Modality Worklist Server
(IHE Encounter Manager Actor)
(IHE Image Manager Actor)
Vendor Neutral Archive (IHE Image Archive Actor)
Point of Care
Ultrasound
(IHE Acquisition Modality Actor)
(IHE Lightweight Device Actor)
Photo Acquisition App
EHR
Desktop
EHR
Mobile
Patient
Portal
View Images
View Images
View Images
Gateway
DICOM Images
DICOM Images
3 IHE Interfaces (2 flavors)
Get Imaging Context
DICOM Modality Worklist [RAD-130]
DICOMweb UPS-RS [RAD-130]
Store Images
DICOM C-STORE [RAD-131]
DICOMweb STOW-RS [RAD-108]
Notify Imaging Result
HL7 ORU Message [RAD-132]
1
1
2
2
3
4
3
4
3
4
3
4
5
5
Image Availability Notification

## Slide 38
What is Encounter-Based Imaging ?
IHE, Standards, and Encounter-Based Imaging Workflow
Metadata
Applying EBIW In The Real World
Summary and Resources
Encounter-based Imaging Workflow
EBIW
Topics:

## Slide 39
In Summary
As noted earlier, EBIW builds on SWF (Scheduled Workflow), taking advantage of DICOM Modality Worklist, well defined metadata in a well defined DICOM image header structure, the use of an accession number as a key, and the DICOM Store/Query-Retrieve services.
EBIW adds support for DICOMweb for lightweight devices.
Capturing and leveraging metadata properly depends on having a clear information model, query model, etc. By storing photos DICOM-wrapped, the pre-existing infrastructure that was used by orders-based DICOM imaging is inherited.

## Slide 40
What to Ask For
Sample Language:
“Does the EMR implement the IHE Result Aggregator role in the EBIW Profile?”
  … to make sure the EMR can receive/process the ORU notifications
RFP: “Shall support the EBIW Profile as the Acquisition Modality Actor”
  … to require that your new PoCUS support encounter-based workflow
To confirm conformance
  IHE Integration Statements
  Connectathon Results

## Slide 41
What to Ask For

## Slide 42: IHE EBIW Profile: https://www.ihe.net/uploadedFiles/Documents/Radiology/IHE_RAD_Suppl_EBIW.pdf
EBIW ~ Further Reading
How to read the EBIW profile
  Consider starting with the Concepts Section (47.4.1.*)
  Actor Descriptions (47.1.1.*)
  Volume 3 transactions (4.130 ~ 4.132)
  Don’t overlook Cross-Profile Considerations (47.6)
How to find integration statements
  product-registry.ihe.net
  connectathon-results.ihe.net
  Search vendor websites
  Google
  Ask Salespeople (if we don’t have it, that’s how profiles get on product roadmaps)

## Slide 43: Presenter’s contact information
Thank you –
You are welcome to contact me if you have questions or want to discuss any of these topics further.
  Kenneth Persons
  krpersons@mayo.edu
  Mayo Clinic,
  200 First St. SW Pb 2-58
  Rochester, MN, USA 55902