## Slide 1
Overview: Multi-Fragment Video Transfer Syntax
Bill Wallace
WG-04
Radical Imaging
Notes: <number>

## Slide 2
Introduction
DICOM limits MPEG2 and H.264 transfer syntax encoding to 1 fragment
  Limits total size to 4 GiB
  Vendors report surgical videos of 100 GiB
Multiple vendors (6) ignore fragment limit
Additional request to store total encoding length (2 vendors)
WG-04 Compression
<number>

## Slide 3
Changes
Change existing transfer syntax
  Allow multiple fragments
  Does not impact sending/receiving systems
  Only impacts viewers
Add 64 bit length field
  Required for multi-frame encoding in single compressed object
WG-27 DICOMweb
<number>