# New Work Item Proposal from WG12 for

# Ultrasound Elastography SR Template

Introduction.

Ultrasound elastography measures Shear Wave Speed to determine the elasticity and viscosity of tissues including liver, breast, prostate, tendons, etc.

Elastography is characterized by a measured Shear Wave Speed (m/s) which can be converted into an estimated Elasticity (kPa) and Dispersion (m/s/kHz).

An elastography report typically involves placing 3-12 ROIs at differing tissue depths and recording the mean and Standard Deviation values for SWS, Elasticity and Dispersion for each ROI, then normalizing the values using a designated Reference ROI and computing some specific summary statistics across the ROIs.

Limitations of Current Standard.

The existing procedure-specific measurement templates do not include one for elastography. An elastography-specific template will ensure that necessary information is present and that organization of the information is clear and similar between vendors which in turn will facilitate processing and use of that data.

Description of Proposal.

An elastography report template is proposed to capture measurements of organs/tissues such as liver, breast, prostate, etc.

This work is expected to be a small number of pages. It originated as a Change Proposal, but based on discussion in WG6, it is being put forward as a Supplement proposal. The intent is to increase visibility and facilitate circulation for public comment review by stakeholders such as WG-15 (Mammography), WG-16 (MR), the QIBA Ultrasound Shear Wave Speed Biomarker Cmte, and the QIBA MR Elastography Biomarker Cmte.

Parts of Standard Affected.

Part 16 – add new SR TID. (Relevant codes have already been added in CP2105)

Workload.

The work and stakeholder outreach will be primarily conducted in WG-12.

It is expected that several hours of WG 6 meeting time will be spent for each of the review and approval of public comment, letter ballot, and final text.